**A1 Fecal Coliform- Water Analysis Data Sheet**

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Subsector: | NB-01-020-002 |  | Location: | (Charlo) |  | Sampling Date:  Processing Date: | 2016 October 25 |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sample Time | 11:31 / 14:14 |  | Incubation Start Time | 13:13/12:12/14:14 |  | TC(oC) |  | **Control** | *positive* | *non target* | *negative* | Blank | A1  Media | Lot #’s |
| **Lot #’s** | lsefjlisj liasejf ilaf | | |
| Tide | HT / HF |  | Incubation End Time | 14:12/12:34/14:23 |  | 22 |  | 35.0 oC | + | + | - | - | 1X | 87 |
| Sample Crew | KJ,KDF |  | Water bath # | H/G/F |  | 8 |  | 44.5 oC | +/+/+ | -/-/- | -/-/- | - | 2X | 85 |

RECORDED TEMPERATURE IS ACTUAL READING + CORRECTION FACTOR

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Station | Time | MPN/ 100ml  Fecal Coliform | Positive Tubes  10 1.0 0.1 | | | Salinity  (ppt) | Temp  (oC) | Processed by |  | Station | Time | MPN/ 100ml  Fecal Coliform | Positive Tubes  10 1.0 0.1 | | | Salinity  (ppt) | Temp  (oC) | | Processed by |
| 0022 | 13:13 | 32 | 4 | 2 | 2 | 1.0 | 2.0 | ER |  |  |  |  |  |  |  |  |  | |  |
| 0023 | 14:14 | < 2 | 0 | 0 | 0 | 23.0 | 2.2 | ER |  |  |  |  |  |  |  |  |  | |  |
| 0024 | 11:31 | 6 | 1 | 1 | 1 | 13.2 | 3.3 | ER |  |  |  |  |  |  |  |  |  | |  |
| 0025 | 12:12 | 220 | 5 | 4 | 2 | 1.0 | 2.0 | FG |  |  |  |  |  |  |  |  |  | |  |
| 0024 | 11:31 | > 1600 | 5 | 5 | 5 | 30.0 | 3.3 | FG |  |  |  |  |  |  |  |  |  | |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | |  |
| 0023 | Int. D | 17 | 3 | 2 | 1 |  |  | FG |  |  |  |  |  |  |  |  |  | |  |
|  | RLog | 1.23045 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | |  |
|  | PCrit | 0.09300 |  |  |  |  |  | Not OK |  |  |  |  |  |  |  |  |  | |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | |  |
| 0024 | Int. R | 17 | 3 | 2 | 1 |  |  | FG |  |  |  |  |  |  |  |  |  | |  |
|  |  |  |  |  |  |  |  | Not OK |  |  |  |  |  |  |  |  |  | |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | |  |
|  |  |  |  |  |  |  |  |  |  | Sheet 1 of 1 | | | | | | | | | |
|  |  |  |  |  |  |  |  |  |  | Duplicate #  0023 | Analyst  FG | > 1600 | 5 | 5 | 5 | Data Entry Date/ Initials  JH 2016 October 26 | | | |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | R- Log’s  3.23045 | | | Precision Criteria  0.6872 | | | | | Acceptable  Unacceptable | |
|  |  |  |  |  |  |  |  |  |  |

Note: All required information as per section 5.10.2 of ISO/IEC 17025 is available from the Laboratory Supervisor.

|  |  |  |  |
| --- | --- | --- | --- |
| **Weather:** This is the weather comment |  | **Sample Bottle Lot #** | 87,45 |
|  | **Salinities Read By** | KJ 2016 October 25 |
| **Comments/ Non Conformances:** This is the Run commnet [0022 - sdgsdfgsfg] | **Results Read By** | JH 2016 October 26 |
|  | **Results Recorded By** | HG 2016 October 26 |
|  | **Supervisor Signature** |  |